## Read Me
Tab | Contents
Biomedical Concepts | These include the assessment concept "Glucose Measurement" and the device biomedical concepts "Glucose Sensor" and "Glucose Signal Processor"
SDTM Specializations | The biomedical concept "Glucose Measurement" has many SDTM specializations. The SDTM specialization used in this example is "Plasma Equivalent Glucose". The device biomedical concepts "Glucose Sensr" and "Glucose Signal Processor" each have only one SDTM specialization with the same name.
Device Identifiers (DI) | The SDTM DI datasets for the glucose sensor and glucose signal processor devices.
Related Devices (RELDEV) | The SDTM RELDEV dataset that describes the relationship between the continuous glucose monitor (CGM) and its component devices.
Findings Example (LB) | The SDTM LB dataset that shows examle glucose data from the CGM device.

## Considerations
The following should be considered when viewing this resource:
The definition of the Laboratory Test Results (LB) domain is currently, "A findings domain that contains laboratory test data such as hematology, clinical chemistry and urinalysis. This domain does not include microbiology or pharmacokinetic data, which are stored in separate domains." This example assumes that "laboratory test data" includes tests performed outside of a laboratory, and ones in which the specimen tested is not removed from the body.
The Device Identification Parameter "Device Type" is defined as "Generic category of medical device within the device classification established by a regulatory authority." This suggests that terms should be taken from a vocabulary established by a regulatory authority. It is not clear what vocabulary should be used.
The variable LBLOC was used for the location at which the sensor was attached. The definition of the root variable --LOC is, "The anatomical location of the intervention, event, or assessment." It seems reasonable to model the location of the assessment as the location at which the sensor is attached.
The variable LBANMETH was not included in this example. It is not clear when it would be included in an LB dataset and, if it is included, what its value should be.
The device output file includes "Serial Number." Since sensors are replaced every 14 days, we assumed that this is a serial number for the sensor and that it is appropriate to use in forming LBREFID. The definition of the root variable --REFID is, "A sequence of characters used to uniquely identify a source of information."
The example LB dataset does not include variables for normal ranges, but normal range variables would likely be included in a regulatory submission. For a validated device, the normal ranges would be supplied by the device manufacturer. and specified in the protocol. For non-validated devices, there may not be a known normal range.

## Biomedical Concepts
package_date | short_name | bc_id | ncit_code | parent_bc_id | bc_categories | synonyms | result_scales | definition | system | system_name | code | dec_id | ncit_dec_code | dec_label | data_type | example_set
2025-07-01 | Glucose Measurement | C105585 | C105585 | C49237 | Laboratory Tests;Chemistry Tests | Glucose | Quantitative;Ordinal | The determination of the amount of glucose present in a sample. |  |  |  | C70856 | C70856 | Observation Result | string
2025-07-01 | Glucose Measurement | C105585 | C105585 | C49237 | Laboratory Tests;Chemistry Tests | Glucose | Quantitative;Ordinal | The determination of the amount of glucose present in a sample. |  |  |  | C70713 | C70713 | Biospecimen Type | string | Blood;Plasma;Serum;Urine
2025-07-01 | Glucose Measurement | C105585 | C105585 | C49237 | Laboratory Tests;Chemistry Tests | Glucose | Quantitative;Ordinal | The determination of the amount of glucose present in a sample. |  |  |  | C215501 | C215501 | Medical Device Identifier | string
2025-07-01 | Glucose Measurement | C105585 | C105585 | C49237 | Laboratory Tests;Chemistry Tests | Glucose | Quantitative;Ordinal | The determination of the amount of glucose present in a sample. |  |  |  | C82515 | C82515 | Collection Date Time | datetime
2025-07-01 | Glucose Measurement | C105585 | C105585 | C49237 | Laboratory Tests;Chemistry Tests | Glucose | Quantitative;Ordinal | The determination of the amount of glucose present in a sample. |  |  |  | C48207 | C48207 | Unit of Concentration | string | mg/dL;g/L;mmol/L
2025-07-01 | Glucose Measurement | C105585 | C105585 | C49237 | Laboratory Tests;Chemistry Tests | Glucose | Quantitative;Ordinal | The determination of the amount of glucose present in a sample. |  |  |  | C93566 | C93566 | Fasting Status Indicator | boolean
2025-07-01 | Glucose Measurement | C105585 | C105585 | C49237 | Laboratory Tests;Chemistry Tests | Glucose | Quantitative;Ordinal | The determination of the amount of glucose present in a sample. |  |  |  | C82535 | C82535 | Test Method | string | Test Strip;Dipstick
| Monitoring Device | C41278 | C41278 | C16830 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;DHT |  |  | A recording device or display that continuously keeps track of the function, condition, or operation of the system or organism and warns of an abnormal or potentially dangerous situation.
| Continuous Glucose Monitoring System | C159776 | C159776 | C41278 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;DHT | CGM | Quantitative | A system that uses a sensor under the skin to monitor glucose levels at regular intervals, providing real-time, or near real-time, glucose information.
| Continuous Glucose Monitoring System | C159776 | C159776 | C41278 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;DHT | CGM | [5 empty] | C215501 | C215501 | Medical Device Identifier | string
| Continuous Glucose Monitoring System | C159776 | C159776 | C41278 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;DHT | CGM | [5 empty] | C224115 | C224115 | Device Parameter Short Name | string
| Continuous Glucose Monitoring System | C159776 | C159776 | C41278 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;DHT | CGM | [5 empty] | C164782 | C164782 | Device Parameter Name | string
| Continuous Glucose Monitoring System | C159776 | C159776 | C41278 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;DHT | CGM | [5 empty] | C164382 | C164382 | Device Parameter Value | string
2025-05-23 | Sensor Device | C50166 | C50166 | C49755 | Medical Device, Wearable Device. Sensor Device |  |  | A component designed to respond to a stimulus by generating a signal that can be measured or interpreted.
2025-05-23 | Glucose Sensor | C218447 | C218447 | C50166 | Medical Device, Wearable Device. Sensor Device |  |  | A sensor designed to respond to the presence or level of glucose in an environment and generate a signal that can be measured or interpreted. |  |  |  | C215501 | C215501 | Medical Device Identifier | string
2025-05-23 | Glucose Sensor | C218447 | C218447 | C50166 | Medical Device, Wearable Device. Sensor Device | [6 empty] | C164782 | C164782 | Device Parameter Name | string
2025-05-23 | Glucose Sensor | C218447 | C218447 | C50166 | Medical Device, Wearable Device. Sensor Device | [6 empty] | C164382 | C164382 | Device Parameter Value | string
2025-05-23 | Sensor Signal Processor | C218444 | C218444 |  | Medical Device, Sensor Signal Processing Device | Sensor Signal Processing Device |  | A device designed to analyze, enhance, interpret, or display signals from a glucose sensor.
2025-06-10 | Glucose Signal Processor | C218445 | C218445 | C218444 | Medical Device, Sensor Signal Processing Device | Glucose Signal Processing Device |  | A component used to analyze, enhance, interpret or display signals from a glucose sensor |  |  |  | C215501 | C215501 | Medical Device Identifier | string
2025-06-10 | Glucose Signal Processor | C218445 | C218445 | C218444 | Medical Device, Sensor Signal Processing Device | Glucose Signal Processing Device | [5 empty] | C164782 | C164782 | Device Parameter Name | string
2025-06-10 | Glucose Signal Processor | C218445 | C218445 | C218444 | Medical Device, Sensor Signal Processing Device | Glucose Signal Processing Device | [5 empty] | C164382 | C164382 | Device Parameter Value | string

## SDTM Specializations
package_date | bc_id | sdtmig_start_version | sdtmig_end_version | domain | vlm_source | vlm_group_id | short_name | sdtm_variable | dec_id | nsv_flag | codelist | codelist_submission_value | subset_codelist | value_list | assigned_term | assigned_value | role | subject | linking_phrase | predicate_term | object | data_type | length | format | significant_digits | mandatory_variable | mandatory_value | origin_type | origin_source | comparator | vlm_target
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | LBTESTCD |  | N | C65047 | LBTESTCD |  |  | C163446 | GLUCPE | Topic | LBTESTCD | is the code for the value in | IS_DECODED_BY | LBTEST |  |  |  |  | Y | N |  |  | EQ
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | LBTEST |  | N | C67154 | LBTEST |  |  | C163446 | Plasma Equivalent Glucose | Qualifier | LBTEST | decodes the value in | DECODES | LBTESTCD |  |  |  |  | Y | N
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | LBCAT |  | N | [5 empty] | CHEMISTRY | Qualifier | LBCAT | groups values in | GROUPS | LBTESTCD |  |  |  |  | Y | N
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | LBORRES | C70856 | N | [6 empty] | Qualifier | LBORRES | is the result of the test in | IS_RESULT_OF | LBTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | LBORRESU | C48207 | N | C71620 | UNIT |  | mg/dL;g/L;mmol/L |  |  | Qualifier | LBORRESU | is the unit for the value in | IS_UNIT_FOR | LBORRES |  |  |  |  | Y | N |  |  |  | Y
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | LBSTRESC | C70856 | N | [6 empty] | Qualifier | LBSTRESC | is the result of the test in | IS_RESULT_OF | LBTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | LBSTRESN | C70856 | N | [6 empty] | Qualifier | LBSTRESN | is the result of the test in | IS_RESULT_OF | LBTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | LBSTRESU | C48207 | N | C71620 | UNIT |  |  | C64387 | mmol/L | Qualifier | LBSTRESU | is the unit for the value in | IS_UNIT_FOR | LBSTRESN |  |  |  |  | N | N |  |  |  | Y
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | LBLOINC |  | N |  |  |  | 99504-3;105272-9 |  |  | Qualifier | LBLOINC | identifies an observation described by | IDENTIFIES_OBSERVATION | LBTESTCD |  |  |  |  | N | N
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | LBSPEC | C70713 | N | C78734 | SPECTYPE |  |  | C120839 | INTERSTITIAL FLUID | Qualifier | LBSPEC | is the specimen tested in | IS_SPECIMEN_TESTED_IN | LBTESTCD |  |  |  |  | Y | N |  |  | EQ
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | LBMETHOD | C82535 | N | C85492 | METHOD |  |  |  |  | Qualifier | LBMETHOD | is the method for the test in | SPECIFIES | LBTESTCD |  |  |  |  | N | N
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | LBFAST | C93566 | N | C66742 | NY | NY_NY | N;Y |  |  | Qualifier | LBFAST | is the subject's fasting status during the performance of the test in | IS_SUBJECT_STATE_FOR | LBTESTCD |  |  |  |  | N | N
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | LBDTC | C82515 | N | [6 empty] | Timing | LBDTC | is the start date for | IS_TIMING_FOR | LBTESTCD |  |  |  |  | Y | N
2025-09-23 | C105585 | 3-2 |  | LB | LB.LBTESTCD | GLUCPE | Plasma Equivalent Glucose | SPDEVID | C215501 | Y | [6 empty] | Identifier | SPDEVID | is the identifier for the device which collected data for the test in | PERFORMS | LBTESTCD |  |  |  |  | N | N
2025-05-26 | C41278 |  |  | DI |  | CGM | Continuous Glucose Monitor | SPDEVID | C215501 | [7 empty] | Identifier
2025-05-26 | C41278 |  |  | DI |  | CGM | Continuous Glucose Monitor | DIPARMCD | C164782 |  | C106481 | DIPARMCD |  |  | C53265 | DEVTYP | Topic | DIPARMCD | is decoded by the value in | IS_DECODED_BY | DIPARM | text
2025-05-26 | C41278 |  |  | DI |  | CGM | Continuous Glucose Monitor | DIPARM | C164782 |  | C106480 | DIPARM |  |  | C53265 | Device Type | Qualifier | DIPARM | decodes the value in | DECODES | DIPARMCD | text
2025-05-26 | C41278 |  |  | DI |  | CGM | Continuous Glucose Monitor | DIVAL | C164382 |  |  | DIVAL |  |  |  | CGM | Qualifier | DIVAL | is the value for the parameter in |  | DIPARMCD | text
2025-05-23 | C218447 |  |  | DI |  | GLUCSENSOR | Glucose Sensor | SPDEVID | C215501
2025-05-23 | C218447 |  |  | DI |  | GLUCSENSOR | Glucose Sensor | DIPARMCD | C164782 |  | C106481 | DIPARMCD |  |  | C53265 | DEVTYP | Topic | DIPARMCD | is decoded by the value in | IS_DECODED_BY | DIPARM | text
2025-05-23 | C218447 |  |  | DI |  | GLUCSENSOR | Glucose Sensor | DIPARM | C164782 |  | C106480 | DIPARM |  |  | C53265 | Device Type | Qualifier | DIPARM | decodes the value in | DECODES | DIPARMCD | text
2025-05-23 | C218447 |  |  | DI |  | GLUCSENSOR | Glucose Sensor | DIVAL | C164382 |  |  | DIVAL |  |  | cNew | Glucose Sensor | Qualifier | DIVAL | is the value for the parameter in |  | DIPARMCD | text
2025-06-10 | C218445 |  |  | DI |  | GLUCSENSPROC | Glucose Signal Processor | SPDEVID | C215501
2025-06-11 | C218445 |  |  | DI |  | GLUCSENSPROC | Glucose Signal Processor | DIPARMCD | C164782 |  | C106481 | DIPARMCD |  |  | C53265 | DEVTYP | Topic | DIPARMCD | is decoded by the value in | IS_DECODED_BY | DIPARM | text
2025-06-12 | C218445 |  |  | DI |  | GLUCSENSPROC | Glucose Signal Processor | DIPARM | C164782 |  | C106480 | DIPARM |  |  | C53265 | Device Type | Qualifier | DIPARM | decodes the value in | DECODES | DIPARMCD | text
2025-06-13 | C218445 |  |  | DI |  | GLUCSENSPROC | Glucose Signal Processor | DIVAL | C164382 |  |  | DIVAL |  |  | cNew | Glucose Sensor Processor | Qualifier | DIVAL | is the value for the parameter in |  | DIPARMCD | text

## Device Identifiers (DI)
Row | STUDYID | DOMAIN | SPDEVID | DISEQ | DIPARMCD | DIPARM | DIVAL
1 | ABC | DI | Libre View | 1 | DEVTYPE | Device Type | Reader app
2 | ABC | DI | Libre View | 1 | MANUF | Manufacturer | Abbot
3 | ABC | DI | FreeStyle Libre 3 | 1 | DEVTYPE | Device Type | Sensor
4 | ABC | DI | FreeStyle Libre 3 | 1 | MANUF | Manufacturer | Abbot
5 | ABC | DI | FreeStyle Libre 3 CGM | 1 | DEVTYPE | Device Type | CGM System
6 | ABC | DI | FreeStyle Libre 3 CGM | 1 | MANUF | Manufacturer | Abbot

## Related Devices (RELDEV)
Row | STUDYID | SPDEVID | PARENT | LEVEL
1 | ABC | FreeStyle Libre 3 CGM |  | 1
2 | ABC | FreeStyle Libre 3 | FreeStyle Libre 3 CGM | 2
3 | ABC | Libre View | FreeStyle Libre 3 CGM | 2

## Findings Example (LB)
Row | STUDYID | USUBJID | SPDEVID | LBSEQ | LBREFID | LBTESTCD | LBTEST | LBORRES | LBORRESU | LBSPEC | LBMETHOD | LBDTC
1 | ABC | ABC-001 | FreeStyle Libre 3 CGM | 1 | DB14687X-1D25-4A84-8967-xxxxxxxxxxxx 1/27/2024 10:57 | GLUCPE | Plasma Equivalent Glucose | 82 | mg/dL | INTERSTITIAL FLUID | ELECTROCHEMICAL AMPEROMETRY | 2024-01-27T08:10:57
2 | ABC | ABC-001 | FreeStyle Libre 3 CGM | 2 | DB14687X-1D25-4A84-8967-xxxxxxxxxxxx 1/27/2024 11:02 | GLUCPE | Plasma Equivalent Glucose | 89 | mg/dL | INTERSTITIAL FLUID | ELECTROCHEMICAL AMPEROMETRY | 2024-01-27T11:02
3 | ABC | ABC-001 | FreeStyle Libre 3 CGM | 3 | DB14687X-1D25-4A84-8967-xxxxxxxxxxxx 1/27/2024 11:07 | GLUCPE | Plasma Equivalent Glucose | 90 | mg/dL | INTERSTITIAL FLUID | ELECTROCHEMICAL AMPEROMETRY | 2024-01-27T11:07
4 | ABC | ABC-001 | FreeStyle Libre 3 CGM | 4 | DB14687X-1D25-4A84-8967-xxxxxxxxxxxx 1/27/2024 11:08 | GLUCPE | Plasma Equivalent Glucose | 94 | mg/dL | INTERSTITIAL FLUID | ELECTROCHEMICAL AMPEROMETRY | 2024-01-27T11:08