## Read Me
About
This example shows findings from assessments of the frequency and duration of nocturnal scratching episodes from a study of atopic dermatitis with the purpose of supporting DiMe Digital Endpoint #122. The example also includes sleep assessments used to determine movements (scratching) whichoccurs during the "nocturnal" period (the subject's major rest period).
Content in this spreadsheet is provisional for community piloting.
Tab | Contents
Biomedical Concepts | These include the assessment concepts "Number of Nocturnal Scratch Bouts" and "Duration of Nocturnal Scratch Bouts" as well as various sleep measurements. The device biomedical concepts are "Physical Activity Monitoring System", "Actigraphy Sensor" and "Actigraphy Signal Processor". The sleep assessments include Total Sleep Time, Number of Nighttime Awakenings, Sleep Onset Latency, Wake After Sleep Onset, and Sleep Efficiency
SDTM Specializations | The scratch and sleep biomedical concepts could have multiple SDTM specializations. The SDTM specializations used in this example are based on the "Major Rest Period" identified from sleep measures.
Device Identifiers (DI) | The SDTM DI datasets for the physical activiry monitoring system, actigraphy sensor and actigraphy signal processor devices.
Related Devices (RELDEV) | The SDTM RELDEV dataset that describes the relationship between the phusical activity monitoring system and its component devices.
Findings Examples (MK and NV) | The SDTM MK (Musculoskelatal System Findings) dataset shows example nocturnal scratch data from the actigraphy device. The SDTM NV (Nervous System Findings) dataset shows example sleep measures from the actigraphy device.

## Considerations
The following should be considered when viewing this resource:
The data from the devices was analyzed by a unit within the sponsor company, so that software has not been treated as a device,or included as a component of the Scratch Sensor System. This is different from other examples, where processing software, even if not within the physical device, has been treated as a component of the overall device.
For each day, the analysis of device data included an assessment of whether data was usable for sleep summaries and an assessment of whether data was usable for scratch summaries. The values of these summaries were "PASS" or "FAIL". If the value was "FAIL", the relevant summaries (of sleep or scratch) were not calculated. In the SDTM datasets, the record for a "FAIL" day was represented with --STAT = "NOT DONE" and --REASND = "FAIL".
The summaries of sleep in this example include summaries of sleep, which have been represented in the Nervous System Findings (NV) domain. This is consistent with the presence of polysomnography sleep tests in the Nervous System Findings test name and test code codelists and the DHT Sleep example.
Terminology used for sleep measurements varies. In this study, a "Major Rest Period" was identified, and within that period, Sleep Onset and Sleep Offset were identified. For the SDTM NV dataset in this example, test names and test codes based specifically on this approach of identifying Major Rest Periods were used. None of these are in the current NV TESTCD/TEST codelists.
NVTESTCD | NVTEST | Draft Definition
TSO | Total Sleep Opportunity | The duration of the major rest period. The major rest period corresponds to the time attempting to sleep.
TSTTSO | Total Sleep Time to Total Sleep Opportunity | (Total Sleep Time) / (Total Sleep Opportunity)
TSTMRP | Total Sleep Time In Major Rest Period | Total time spent asleep in the major rest period.
WASOMRP | Wake Duration After Sleep Onset in Major Rest Period | The amount of time spent awake after first sleep state. (Includes time between (last) awakening and end of the major rest period.)
SOLMRP | Sleep Onset Latency in Major Rest Period | Time between start of major rest period and (first) sleep onset.
NWMRP | Number of Wake Periods in Major Rest Period | The number of times the subject transitioned from sleep to wake, after first sleep state. (Includes the last wake period in the major rest period.)
In this example, scratch measurements are represented in the Musculoskeletal System Findings (MK) domain. This is consistent with the representation of the movement data in the DHT Step Count data in the MK domain.
There are no scratch tests in the current MKTESTCD/TEST codelists. The tests used in this example are all specific to measuring scratching within the Major Rest Period identified by the sleep algorithms.
MKTESTCD | MKTEST | Draft Definition
NSCMRP | Number of Scratch Bouts in Major Rest Period | Total number of scratch bouts during the major rest period
DSCMRP | Duration of Scratch Bouts in Major Rest Period | Total time spent scratching during the major rest period.
Sleep test concepts in the NCI Thesaurus currently have definitions which assume the concepts are being measured by polysomnography in the setting of a sleep study. In spite of this fact, the following existing concepts are treated as conceptual BCs associated with the SDTM specializations for the following tests used in this example:
Conceptual BC | C-Code | SDTM Specialization Test Code | SDTM Specialization Test Name
Total Sleep Time | C156552 | TSTMRP | Total Sleep Time In Major Rest Period
Wake After Sleep Onset | C156554 | WASOMRP | Wake After Sleep Onset Major Rest Period
Sleep Onset Latency | C154867 | SOLMRP | Sleep Onset Latency in Major Rest Period
Sleep Efficiency | C156553 | TSTTSO | Total Sleep Time Total Sleep Opportunity
Other test concepts are not currently present in the NCI Thesaurus. Conceptual BCs and SDTM Specializations have been represented as follows. "Cnew" is an indicator that a C-code does not currently exist, but is expected to be added in future.
Conceptual BC | C-Code | SDTM Specialization Test Code | SDTM Specialization Test Name
Duration of Major Rest Period | Cnew | TSO | Total Sleep Opportunity
Number of Nighttime Awakenings | Cnew | NWMRP | Number of Wake Periods Major Rest Period
Nocturnal Scratch measurements are not currently present in the NCI Thesaurus. Conceptual BCs and SDTM Specializations have been represented as follows.
Conceptual BC | C-Code | SDTM Specialization Test Code | SDTM Specialization Test Name
Number of Nocturnal Scratch Bouts | Cnew | NSCMRP | Number of Scratch Bouts in Major Rest Period
Duration of Noctural Scratch Bouts | Cnew | DSCMRP | Duration of Scratch Bouts in Major Rest Period

## Biomedical Concepts
package_date | short_name | bc_id | ncit_code | parent_bc_id | bc_categories | synonyms | result_scales | definition | system | system_name | code | dec_id | ncit_dec_code | dec_label | data_type | example_set | History of Change
| Monitoring Device | C41278 | C41278 | C16830 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;DHT |  |  | A recording device or display that continuously keeps track of the function, condition, or operation of the system or organism and warns of an abnormal or potentially dangerous situation.
| Physical Activity Monitoring System | C218442 | C218442 | C41278 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Monitoring Device;DHT |  | Quantitative | A system that uses one or more sensors or other devices to monitor an individual's activity in real-time or near-real time.
| Physical Activity Monitoring System | C218442 | C218442 | C41278 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Monitoring Device;DHT | [6 empty] | C215501 | C215501 | Medical Device Identifier | string
| Physical Activity Monitoring System | C218442 | C218442 | C41278 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Monitoring Device;DHT | [6 empty] | NEW_DEC_DHT2 |  | Device Parameter Code | string
| Physical Activity Monitoring System | C218442 | C218442 | C41278 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Monitoring Device;DHT | [6 empty] | C164782 | C164782 | Device Parameter Name | string
| Physical Activity Monitoring System | C218442 | C218442 | C41278 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Monitoring Device;DHT | [6 empty] | C164382 | C164382 | Device Parameter Value | string
| Sensor Device | C50166 | C50166 | C49755 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Monitoring Device;Wearable Device;DHT |  |  | A device designed to respond to a stimulus by generating a signal that can be measured or interpreted.
| Actigraphy Sensor | C218443 | C218443 | C50166 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Monitoring Device;Wearable Device;Sensor Device;DHT | Actigraphy Sensor Device | Quantitative | A sensor designed for continuous, or near-continuous, monitoring of body movement. |  |  |  | C215501 | C215501 | Medical Device Identifier | string
| Actigraphy Sensor | C218443 | C218443 | C50166 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Monitoring Device;Wearable Device;Sensor Device;DHT | Actigraphy Sensor Device | [5 empty] | NEW_DEC_DHT2 |  | Device Parameter Code | string
| Actigraphy Sensor | C218443 | C218443 | C50166 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Monitoring Device;Wearable Device;Sensor Device;DHT | Actigraphy Sensor Device | [5 empty] | C164782 | C164782 | Device Parameter Name | string
| Actigraphy Sensor | C218443 | C218443 | C50166 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Monitoring Device;Wearable Device;Sensor Device;DHT | Actigraphy Sensor Device | [5 empty] | C164382 | C164382 | Device Parameter Value | string
| Sensor Signal Processor | C218444 | C218444 |  | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Sensor Device;DHT | Sensor Signal Processing Device |  | A device designed to analyze, enhance, interpret, or display signals from one or more sensor devices.
| Actimetry Signal Processor | C218446 | C218446 | C218444 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Sensor Device;Sensor Signal Processing Device;DHT | Actimetry Signal Processing Device | Quantitative | A device designed to analyze, enhance, interpret, or display signals from an actigraphy sensor. |  |  |  | C215501 | C215501 | Medical Device Identifier | string
| Actimetry Signal Processor | C218446 | C218446 | C218444 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Sensor Device;Sensor Signal Processing Device;DHT | Actimetry Signal Processing Device |  | A device designed to analyze, enhance, interpret, or display signals from an actigraphy sensor. |  |  |  | NEW_DEC_DHT2 |  | Device Parameter Code | string
| Actimetry Signal Processor | C218446 | C218446 | C218444 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Sensor Device;Sensor Signal Processing Device;DHT | Actimetry Signal Processing Device |  | A device designed to analyze, enhance, interpret, or display signals from an actigraphy sensor. |  |  |  | C164782 | C164782 | Device Parameter Name | string
| Actimetry Signal Processor | C218446 | C218446 | C218444 | Manufactured Object;Diagnostic, Therapeutic or Research Equipment;Device;Medical Device;Sensor Device;Sensor Signal Processing Device;DHT | Actimetry Signal Processing Device |  | A device designed to analyze, enhance, interpret, or display signals from an actigraphy sensor. |  |  |  | C164382 | C164382 | Device Parameter Value | string
| Physical Activity Measurement | C120914 | C120914 |  | Physical Activity |  |  | A measurement of a subject's physical activity or movement.
| Scratch | C94577 | C94577 |  | Scratching |  |  | To wear away a surface with a sharp object.
| Scratch bout | NEW_BC_DHT4 |  |  | Scratching |  |  | A period during which a subject scratches their skin
| Nocturnal number of scratch bouts | NEW_BC_DHT5 |  |  | Physical Activity, Scratching, Wearable Device;DHT |  | Quantitative | The number of scratch bouts during the time the subject is attempting sleep at night.
| Nocturnal number of scratch bouts | NEW_BC_DHT5 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C70856 | C70856 | Observation Result | integer
| Nocturnal number of scratch bouts | NEW_BC_DHT5 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C82535 | C82535 | Test Method | string | Actigraphy
| Nocturnal number of scratch bouts | NEW_BC_DHT5 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C117039 | C117039 | Analysis Method | string
| Nocturnal number of scratch bouts | NEW_BC_DHT5 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C215501 | C215501 | Medical Device Identifier | string
| Nocturnal number of scratch bouts | NEW_BC_DHT5 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C82515 | C82515 | Collection Date Time | datetime
| Nocturnal number of scratch bouts | NEW_BC_DHT5 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C82516 | C82516 | Observation End Date Time | datetime
| Nocturnal number of scratch bouts | NEW_BC_DHT5 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C82534 | C82534 | Evaluation Interval | string
| Nocturnal number of scratch bouts | NEW_BC_DHT5 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | NEW_DEC_DHT1 |  | Device Worn Site | string | Wrist
| Nocturnal number of scratch bouts | NEW_BC_DHT5 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C25185 | C25185 | Laterality | string | Left;Right
| Total duration of scratch bouts | NEW_BC_DHT6 |  |  | Physical Activity, Scratching, Wearable Device;DHT |  | Quantitative | The amount of time spent scratching during the time the subject is attempting sleep at night.
| Total duration of scratch bouts | NEW_BC_DHT6 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C70856 | C70856 | Observation Result | integer
| Total duration of scratch bouts | NEW_BC_DHT6 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C82535 | C82535 | Test Method | string | Actigraphy
| Total duration of scratch bouts | NEW_BC_DHT6 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C117039 | C117039 | Analysis Method | string
| Total duration of scratch bouts | NEW_BC_DHT6 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C215501 | C215501 | Medical Device Identifier | string
| Total duration of scratch bouts | NEW_BC_DHT6 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C82515 | C82515 | Collection Date Time | datetime
| Total duration of scratch bouts | NEW_BC_DHT6 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C82516 | C82516 | Observation End Date Time | datetime
| Total duration of scratch bouts | NEW_BC_DHT6 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C82534 | C82534 | Evaluation Interval | string
| Total duration of scratch bouts | NEW_BC_DHT6 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | NEW_DEC_DHT1 |  | Device Worn Site | string | Wrist
| Total duration of scratch bouts | NEW_BC_DHT6 |  |  | Physical Activity, Scratching, Wearable Device;DHT | [6 empty] | C25185 | C25185 | Laterality | string | Left;Right
| Sleep Study | C99553 | C99553 |  | Interventions;Sleep |  |  | Measurement of physiologic parameters during sleep.
| Total Sleep Time | C156552 | C156552 | C99553 | Wearable Device; Sleep Study;DHT | TST | Quantitative | The total amount of sleep time from sleep onset to sleep offset, determined by summing the N1 sleep, N2 sleep, N3 sleep, and REM sleep durations.
| Total Sleep Time | C156552 | C156552 | C99553 | Wearable Device; Sleep Study;DHT | TST | Quantitative |  |  |  |  | C70856 | C70856 | Observation Result | decimal
| Total Sleep Time | C156552 | C156552 | C99553 | Wearable Device; Sleep Study;DHT | TST | Quantitative |  |  |  |  | C42574 | C42574 | Unit of Time | string | Minutes;Hours
| Total Sleep Time | C156552 | C156552 | C99553 | Wearable Device; Sleep Study;DHT | TST | Quantitative |  |  |  |  | C82535 | C82535 | Test Method | string | Actigraphy;Activity Tracking;Polysomnography
| Total Sleep Time | C156552 | C156552 | C99553 | Wearable Device; Sleep Study;DHT | TST | Quantitative |  |  |  |  | C117039 | C117039 | Analysis Method | string
| Total Sleep Time | C156552 | C156552 | C99553 | Wearable Device; Sleep Study;DHT | TST | Quantitative |  |  |  |  | C215501 | C215501 | Medical Device Identifier | string
| Total Sleep Time | C156552 | C156552 | C99553 | Wearable Device; Sleep Study;DHT | TST | Quantitative |  |  |  |  | C82534 | C82534 | Evaluation Interval | string | Sleep Period;Major Rest Period
| Total Sleep Time | C156552 | C156552 | C99553 | Wearable Device; Sleep Study;DHT | TST | Quantitative |  |  |  |  | C82515 | C82515 | Collection Date Time | datetime
| Total Sleep Time | C156552 | C156552 | C99553 | Wearable Device; Sleep Study;DHT | TST | Quantitative |  |  |  |  | C82516 | C82516 | Observation End Date Time | datetime
| Total Sleep Time | C156552 | C156552 | C99553 | Wearable Device; Sleep Study;DHT | TST | Quantitative |  |  |  |  | NEW_DEC_DHT1 |  | Device Worn Site | string | Wrist;Lumbar Area
| Total Sleep Time | C156552 | C156552 | C99553 | Wearable Device; Sleep Study;DHT | TST | Quantitative |  |  |  |  | C25185 | C25185 | Laterality | string | Left;Right
| Number of Nighttime Awakenings | NEW_BC_DHT1 |  | C99553 | Wearable Device; Sleep Study;DHT |  | Quantitative | The number of awakenings between sleep onset and sleep offset.
| Number of Nighttime Awakenings | NEW_BC_DHT1 |  | C99553 | Wearable Device; Sleep Study;DHT |  | Quantitative |  |  |  |  | C70856 | C70856 | Observation Result | integer
| Number of Nighttime Awakenings | NEW_BC_DHT1 |  | C99553 | Wearable Device; Sleep Study;DHT |  | Quantitative |  |  |  |  | C82535 | C82535 | Test Method | string | Actigraphy;Activity Tracking;Polysomnography
| Number of Nighttime Awakenings | NEW_BC_DHT1 |  | C99553 | Wearable Device; Sleep Study;DHT |  | Quantitative |  |  |  |  | C117039 | C117039 | Analysis Method | string
| Number of Nighttime Awakenings | NEW_BC_DHT1 |  | C99553 | Wearable Device; Sleep Study;DHT |  | Quantitative |  |  |  |  | C215501 | C215501 | Medical Device Identifier | string
| Number of Nighttime Awakenings | NEW_BC_DHT1 |  | C99553 | Wearable Device; Sleep Study;DHT |  | Quantitative |  |  |  |  | C82534 | C82534 | Evaluation Interval | string | Sleep Period
| Number of Nighttime Awakenings | NEW_BC_DHT1 |  | C99553 | Wearable Device; Sleep Study;DHT |  | Quantitative |  |  |  |  | C82515 | C82515 | Collection Date Time | datetime
| Number of Nighttime Awakenings | NEW_BC_DHT1 |  | C99553 | Wearable Device; Sleep Study;DHT |  | Quantitative |  |  |  |  | C82516 | C82516 | Observation End Date Time | datetime
| Number of Nighttime Awakenings | NEW_BC_DHT1 |  | C99553 | Wearable Device; Sleep Study;DHT |  | Quantitative |  |  |  |  | NEW_DEC_DHT1 |  | Device Worn Site | string | Wrist;Lumbar Area
| Number of Nighttime Awakenings | NEW_BC_DHT1 |  | C99553 | Wearable Device; Sleep Study;DHT |  | Quantitative |  |  |  |  | C25185 | C25185 | Laterality | string | Left;Right
| Wake After Sleep Onset | C156554 | C156554 | C99553 | Wearable Device; Sleep Study;DHT | WASO | Quantitative | A measurement of the sum of durations of wakefulness episodes throughout the night, not including the wakefulness before sleep onset.
| Wake After Sleep Onset | C156554 | C156554 | C99553 | Wearable Device; Sleep Study;DHT | WASO | Quantitative |  |  |  |  | C70856 | C70856 | Observation Result | decimal
| Wake After Sleep Onset | C156554 | C156554 | C99553 | Wearable Device; Sleep Study;DHT | WASO | Quantitative |  |  |  |  | C42574 | C42574 | Unit of Time | string | Minutes;Hours
| Wake After Sleep Onset | C156554 | C156554 | C99553 | Wearable Device; Sleep Study;DHT | WASO | Quantitative |  |  |  |  | C82535 | C82535 | Test Method | string | Actigraphy;Activity Tracking;Polysomnography
| Wake After Sleep Onset | C156554 | C156554 | C99553 | Wearable Device; Sleep Study;DHT | WASO | Quantitative |  |  |  |  | C117039 | C117039 | Analysis Method | string
| Wake After Sleep Onset | C156554 | C156554 | C99553 | Wearable Device; Sleep Study;DHT | WASO | Quantitative |  |  |  |  | C215501 | C215501 | Medical Device Identifier | string
| Wake After Sleep Onset | C156554 | C156554 | C99553 | Wearable Device; Sleep Study;DHT | WASO | Quantitative |  |  |  |  | C82534 | C82534 | Evaluation Interval | string | Sleep Period
| Wake After Sleep Onset | C156554 | C156554 | C99553 | Wearable Device; Sleep Study;DHT | WASO | Quantitative |  |  |  |  | C82515 | C82515 | Collection Date Time | datetime
| Wake After Sleep Onset | C156554 | C156554 | C99553 | Wearable Device; Sleep Study;DHT | WASO | Quantitative |  |  |  |  | C82516 | C82516 | Observation End Date Time | datetime
| Wake After Sleep Onset | C156554 | C156554 | C99553 | Wearable Device; Sleep Study;DHT | WASO | Quantitative |  |  |  |  | NEW_DEC_DHT1 |  | Device Worn Site | string | Wrist;Lumbar Area
| Wake After Sleep Onset | C156554 | C156554 | C99553 | Wearable Device; Sleep Study;DHT | WASO | Quantitative |  |  |  |  | C25185 | C25185 | Laterality | string | Left;Right
| Sleep Efficiency | C156553 | C156553 | C99553 | Wearable Device; Sleep Study;DHT | SE | Quantitative | A relative measurement (percentage) of the time spent asleep (N1 sleep + N2 sleep + N3 sleep + REM sleep) to the total time spent in bed.
| Sleep Efficiency | C156553 | C156553 | C99553 | Wearable Device; Sleep Study;DHT | SE | Quantitative |  |  |  |  | C70856 | C70856 | Observation Result | decimal
| Sleep Efficiency | C156553 | C156553 | C99553 | Wearable Device; Sleep Study;DHT | SE | Quantitative |  |  |  |  | C48570 | C48570 | Percent Unit | string
| Sleep Efficiency | C156553 | C156553 | C99553 | Wearable Device; Sleep Study;DHT | SE | Quantitative |  |  |  |  | C82535 | C82535 | Test Method | string | Actigraphy;Activity Tracking;Polysomnography
| Sleep Efficiency | C156553 | C156553 | C99553 | Wearable Device; Sleep Study;DHT | SE | Quantitative |  |  |  |  | C117039 | C117039 | Analysis Method | string
| Sleep Efficiency | C156553 | C156553 | C99553 | Wearable Device; Sleep Study;DHT | SE | Quantitative |  |  |  |  | C215501 | C215501 | Medical Device Identifier | string
| Sleep Efficiency | C156553 | C156553 | C99553 | Wearable Device; Sleep Study;DHT | SE | Quantitative |  |  |  |  | C82534 | C82534 | Evaluation Interval | string | Sleep Period
| Sleep Efficiency | C156553 | C156553 | C99553 | Wearable Device; Sleep Study;DHT | SE | Quantitative |  |  |  |  | C82515 | C82515 | Collection Date Time | datetime
| Sleep Efficiency | C156553 | C156553 | C99553 | Wearable Device; Sleep Study;DHT | SE | Quantitative |  |  |  |  | C82516 | C82516 | Observation End Date Time | datetime
| Sleep Efficiency | C156553 | C156553 | C99553 | Wearable Device; Sleep Study;DHT | SE | Quantitative |  |  |  |  | NEW_DEC_DHT1 |  | Device Worn Site | string | Wrist;Lumbar Area
| Sleep Efficiency | C156553 | C156553 | C99553 | Wearable Device; Sleep Study;DHT | SE | Quantitative |  |  |  |  | C25185 | C25185 | Laterality | string | Left;Right
| Sleep Onset Latency | C154867 | C154867 | C99553 | Wearable Device; Sleep Study;DHT | SOL | Quantitative | The duration of time between when the lights are turned off and when the individual falls asleep.
| Sleep Onset Latency | C154867 | C154867 | C99553 | Wearable Device; Sleep Study;DHT | SOL | Quantitative |  |  |  |  | C70856 | C70856 | Observation Result | decimal
| Sleep Onset Latency | C154867 | C154867 | C99553 | Wearable Device; Sleep Study;DHT | SOL | Quantitative |  |  |  |  | C42574 | C42574 | Unit of Time | string | Minutes;Hours
| Sleep Onset Latency | C154867 | C154867 | C99553 | Wearable Device; Sleep Study;DHT | SOL | Quantitative |  |  |  |  | C82535 | C82535 | Test Method | string | Actigraphy;Activity Tracking;Polysomnography
| Sleep Onset Latency | C154867 | C154867 | C99553 | Wearable Device; Sleep Study;DHT | SOL | Quantitative |  |  |  |  | C117039 | C117039 | Analysis Method | string
| Sleep Onset Latency | C154867 | C154867 | C99553 | Wearable Device; Sleep Study;DHT | SOL | Quantitative |  |  |  |  | C215501 | C215501 | Medical Device Identifier | string
| Sleep Onset Latency | C154867 | C154867 | C99553 | Wearable Device; Sleep Study;DHT | SOL | Quantitative |  |  |  |  | C82534 | C82534 | Evaluation Interval | string | Sleep Period
| Sleep Onset Latency | C154867 | C154867 | C99553 | Wearable Device; Sleep Study;DHT | SOL | Quantitative |  |  |  |  | C82515 | C82515 | Collection Date Time | datetime
| Sleep Onset Latency | C154867 | C154867 | C99553 | Wearable Device; Sleep Study;DHT | SOL | Quantitative |  |  |  |  | C82516 | C82516 | Observation End Date Time | datetime
| Sleep Onset Latency | C154867 | C154867 | C99553 | Wearable Device; Sleep Study;DHT | SOL | Quantitative |  |  |  |  | NEW_DEC_DHT1 |  | Device Worn Site | string | Wrist;Lumbar Area
| Sleep Onset Latency | C154867 | C154867 | C99553 | Wearable Device; Sleep Study;DHT | SOL | Quantitative |  |  |  |  | C25185 | C25185 | Laterality | string | Left;Right
Note on B9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The definition of Actigraphy refers to an “actimetry sensor” but Actimetry Sensor is not a term in NCIt

## SDTM Specializations
package_date | bc_id | sdtmig_start_version | sdtmig_end_version | domain | vlm_source | vlm_group_id | short_name | sdtm_variable | dec_id | nsv_flag | codelist | codelist_submission_value | subset_codelist | value_list | assigned_term | assigned_value | role | subject | linking_phrase | predicate_term | object | data_type | length | format | significant_digits | mandatory_variable | mandatory_value | origin_type | origin_source | comparator | vlm_target
| C218442 | 3-2 |  | DI | DI.DIPARMCD | PAM | Physical Activity Monitoring System | SPDEVID | C215501 | N | [6 empty] | Identifier |  |  |  |  | text | 20 |  |  | Y | N
| C218442 | 3-2 |  | DI | DI.DIPARMCD | PAM | Physical Activity Monitoring System | DIPARMCD | NEW_DEC_DHT2 | N | C106481 | DIPARMCD |  |  | C53265 | DEVTYPE | Topic | DIPARMCD | is the code for the value in | IS_DECODED_BY | DIPARM | text | 20 |  |  | Y | Y |  |  | EQ
| C218442 | 3-2 |  | DI | DI.DIPARMCD | PAM | Physical Activity Monitoring System | DIPARM | C164782 | N | C106480 | DIPARM |  |  | C53265 | Device Type | Qualifier | DIPARM | decodes the value in | DECODES | DIPARMCD | text | 200 |  |  | Y | Y
| C218442 | 3-2 |  | DI | DI.DIPARMCD | PAM | Physical Activity Monitoring System | DIVAL | C164382 | N |  | DIVAL |  | Actigraph;Apple;Fitbit | CNEW | Physical Activity Monitor | Qualifier | DIVAL | is the value for the parameter in | IS_VALUE_OF | DIPARMCD | text | 200 |  |  | Y | N |  |  |  | Y
| C218443 | 3-2 |  | DI | DI.DIPARMCD | PHYSACTSENSOR | Actigraphy Sensor | SPDEVID | C215501 | N | [6 empty] | Identifier |  |  |  |  | text | 20 |  |  | Y | N
| C218443 | 3-2 |  | DI | DI.DIPARMCD | PHYSACTSENSOR | Actigraphy Sensor | DIPARMCD | NEW_DEC_DHT2 | N | C106481 | DIPARMCD |  |  | C53265 | DEVTYPE | Topic | DIPARMCD | is the code for the value in | IS_DECODED_BY | DIPARM | text | 20 |  |  | Y | Y |  |  | EQ
| C218443 | 3-2 |  | DI | DI.DIPARMCD | PHYSACTSENSOR | Actigraphy Sensor | DIPARM | C164782 | N | C106480 | DIPARM |  |  | C53265 | Device Type | Qualifier | DIPARM | decodes the value in | DECODES | DIPARMCD | text | 200 |  |  | Y | Y
| C218443 | 3-2 |  | DI | DI.DIPARMCD | PHYSACTSENSOR | Actigraphy Sensor | DIVAL | C164382 | N |  | DIVAL |  |  | CNEW | Physical Activity Sensor | Qualifier | DIVAL | is the value for the parameter in | IS_VALUE_OF | DIPARMCD | text | 200 |  |  | Y | N |  |  |  | Y
| C218446 | 3-2 |  | DI | DI.DIPARMCD | PASENSPROC | Actimetry Signal Processor | SPDEVID | C215501 | N | [6 empty] | Identifier |  |  |  |  | text | 20 |  |  | Y | N
| C218446 | 3-2 |  | DI | DI.DIPARMCD | PASENSPROC | Actimetry Signal Processor | DIPARMCD | NEW_DEC_DHT2 | N | C106481 | DIPARMCD |  |  | C53265 | DEVTYPE | Topic | DIPARMCD | is the code for the value in | IS_DECODED_BY | DIPARM | text | 20 |  |  | Y | Y |  |  | EQ
| C218446 | 3-2 |  | DI | DI.DIPARMCD | PASENSPROC | Actimetry Signal Processor | DIPARM | C164782 | N | C106480 | DIPARM |  |  | C53265 | Device Type | Qualifier | DIPARM | decodes the value in | DECODES | DIPARMCD | text | 200 |  |  | Y | Y
| C218446 | 3-2 |  | DI | DI.DIPARMCD | PASENSPROC | Actimetry Signal Processor | DIVAL | C164382 | N |  | DIVAL |  |  | CNEW | Physical Activity Sensor Processor | Qualifier | DIVAL | is the value for the parameter in | IS_VALUE_OF | DIPARMCD | text | 200 |  |  | Y | N |  |  |  | Y
| NEW_BC_DHT5 | 3-2 |  | MK | MK.MKTESTCD | NUMSCRACT | Number Nocturnal Scratch Bouts Actigraphy | MKTESTCD |  | N | C127269 | MUSCTSCD |  |  | C156552 | NSCMRP | Topic | MKTESTCD | is the code for the value in | IS_DECODED_BY | MKTEST | text |  |  |  | Y | Y |  |  | EQ
| NEW_BC_DHT5 | 3-2 |  | MK | MK.MKTESTCD | NUMSCRACT | Number Nocturnal Scratch Bouts Actigraphy | MKTEST |  | N | C127270 | MUSCTS |  |  | C156552 | Number Scratch Bouts Major Rest Period | Qualifier | MKTEST | decodes the value in | DECODES | MKTESTCD | text |  |  |  | Y | Y
| NEW_BC_DHT5 | 3-2 |  | MK | MK.MKTESTCD | NUMSCRACT | Number Nocturnal Scratch Bouts Actigraphy | MKORRES | C70856 | N | [6 empty] | Qualifier | MKORRES | is the result of the test in | IS_RESULT_OF | MKTESTCD | integer | 6 |  |  | Y | N | Collected | Vendor |  | Y
| NEW_BC_DHT5 | 3-2 |  | MK | MK.MKTESTCD | NUMSCRACT | Number Nocturnal Scratch Bouts Actigraphy | MKSTRESC | C70856 | N | [6 empty] | Qualifier | MKSTRESC | is the result of the test in | IS_RESULT_OF | MKTESTCD | integer | 6 |  |  | Y | N | Assigned | Sponsor |  | Y
| NEW_BC_DHT5 | 3-2 |  | MK | MK.MKTESTCD | NUMSCRACT | Number Nocturnal Scratch Bouts Actigraphy | MKSTRESN | C70856 | N | [6 empty] | Qualifier | MKSTRESN | is the result of the test in | IS_RESULT_OF | MKTESTCD | integer | 6 |  |  | Y | N | Assigned | Sponsor |  | Y
| NEW_BC_DHT5 | 3-2 |  | MK | MK.MKTESTCD | NUMSCRACT | Number Nocturnal Scratch Bouts Actigraphy | MKMETHOD | C82535 | N | C85492 | METHOD |  |  | C180883 | ACTIGRAPHY | Qualifier | MKMETHOD | is the method for the test in | SPECIFIES | MKTESTCD | text |  |  |  | N | N |  |  | EQ
| NEW_BC_DHT5 | 3-2 |  | MK | MK.MKTESTCD | NUMSCRACT | Number Nocturnal Scratch Bouts Actigraphy | MKANMETH | C117039 | N | [6 empty] | Qualifier | MKANMETH | is the analytical method for the test in | SPECIFIES | MKSTRESN | text |  |  |  | Y | N
| NEW_BC_DHT5 | 3-2 |  | MK | MK.MKTESTCD | NUMSCRACT | Number Nocturnal Scratch Bouts Actigraphy | SPDEVID | C215501 | N | [5 empty] | MAJOR REST PERIOD | Qualifier | SPDEVID | is the identifier for the device which collected data for the test in | IS_DEVICE_FOR | MKSTRESN | text |  |  |  | Y | N
| NEW_BC_DHT5 | 3-2 |  | MK | MK.MKTESTCD | NUMSCRACT | Number Nocturnal Scratch Bouts Actigraphy | MKEVINTX | C82534 | N | [6 empty] | Identifier | MKEVINTX | is the period of time to be considered when answering the question in | IS_TIMING_FOR | MKTESTCD | text |  |  |  | N | N
| NEW_BC_DHT5 | 3-2 |  | MK | MK.MKTESTCD | NUMSCRACT | Number Nocturnal Scratch Bouts Actigraphy | MKDTC | C82515 | N | [6 empty] | Timing | MKDTC | is the date of collection for | IS_TIMING_FOR | MKTESTCD | datetime |  |  |  | N | N
| NEW_BC_DHT5 | 3-2 |  | MK | MK.MKTESTCD | NUMSCRACT | Number Nocturnal Scratch Bouts Actigraphy | MKENDTC | C82516 | N | [6 empty] | Timing | MKENDTC | is the end date for | IS_TIMING_FOR | MKTESTCD | datetime |  |  |  | N | N
| NEW_BC_DHT5 | 3-2 |  | MK | MK.MKTESTCD | NUMSCRACT | Number Nocturnal Scratch Bouts Actigraphy | DEVSITE | NEW_DEC_DHT1 | Y | C74456 | LOC |  | WRIST |  |  | Qualifier |  |  |  |  | text |  |  |  | N | N
| NEW_BC_DHT5 | 3-2 |  | MK | MK.MKTESTCD | NUMSCRACT | Number Nocturnal Scratch Bouts Actigraphy | MKLAT | C25185 | N | C99073 | LAT |  | LEFT, RIGHT |  |  | Qualifier | MKLAT | further specifies the anatomical location in | SPECIFIES | MKLOC | text |  |  |  | N | N
| NEW_BC_DHT6 | 3-2 |  | MK | MK.MKTESTCD | DURSCRACT | Duration Nocturnal Scratch Bouts Actigraphy | MKTESTCD |  | N | C127269 | MUSCTSCD |  |  | C156552 | DSCMRP | Topic | MKTESTCD | is the code for the value in | IS_DECODED_BY | MKTEST | text |  |  |  | Y | Y |  |  | EQ
| NEW_BC_DHT6 | 3-2 |  | MK | MK.MKTESTCD | DURSCRACT | Duration Nocturnal Scratch Bouts Actigraphy | MKTEST |  | N | C127270 | MUSCTS |  |  | C156552 | Duration Scratch Bouts Major Rest Period | Qualifier | MKTEST | decodes the value in | DECODES | MKTESTCD | text |  |  |  | Y | Y
| NEW_BC_DHT6 | 3-2 |  | MK | MK.MKTESTCD | DURSCRACT | Duration Nocturnal Scratch Bouts Actigraphy | MKORRES | C70856 | N | [6 empty] | Qualifier | MKORRES | is the result of the test in | IS_RESULT_OF | MKTESTCD | integer | 6 |  |  | Y | N | Collected | Vendor |  | Y
| NEW_BC_DHT6 | 3-2 |  | MK | MK.MKTESTCD | DURSCRACT | Duration Nocturnal Scratch Bouts Actigraphy | MKSTRESC | C70856 | N | [6 empty] | Qualifier | MKSTRESC | is the result of the test in | IS_RESULT_OF | MKTESTCD | integer | 6 |  |  | Y | N | Assigned | Sponsor |  | Y
| NEW_BC_DHT6 | 3-2 |  | MK | MK.MKTESTCD | DURSCRACT | Duration Nocturnal Scratch Bouts Actigraphy | MKSTRESN | C70856 | N | [6 empty] | Qualifier | MKSTRESN | is the result of the test in | IS_RESULT_OF | MKTESTCD | integer | 6 |  |  | Y | N | Assigned | Sponsor |  | Y
| NEW_BC_DHT6 | 3-2 |  | MK | MK.MKTESTCD | DURSCRACT | Duration Nocturnal Scratch Bouts Actigraphy | MKMETHOD | C82535 | N | C85492 | METHOD |  |  | C180883 | ACTIGRAPHY | Qualifier | MKMETHOD | is the method for the test in | SPECIFIES | MKTESTCD | text |  |  |  | N | N |  |  | EQ
| NEW_BC_DHT6 | 3-2 |  | MK | MK.MKTESTCD | DURSCRACT | Duration Nocturnal Scratch Bouts Actigraphy | MKANMETH | C117039 | N | [6 empty] | Qualifier | MKANMETH | is the analytical method for the test in | SPECIFIES | MKSTRESN | text |  |  |  | Y | N
| NEW_BC_DHT6 | 3-2 |  | MK | MK.MKTESTCD | DURSCRACT | Duration Nocturnal Scratch Bouts Actigraphy | SPDEVID | C215501 | N | [5 empty] | MAJOR REST PERIOD | Qualifier | SPDEVID | is the identifier for the device which collected data for the test in | IS_DEVICE_FOR | MKSTRESN | text |  |  |  | Y | N
| NEW_BC_DHT6 | 3-2 |  | MK | MK.MKTESTCD | DURSCRACT | Duration Nocturnal Scratch Bouts Actigraphy | MKEVINTX | C82534 | N | [6 empty] | Identifier | MKEVINTX | is the period of time to be considered when answering the question in | IS_TIMING_FOR | MKTESTCD | text |  |  |  | N | N
| NEW_BC_DHT6 | 3-2 |  | MK | MK.MKTESTCD | DURSCRACT | Duration Nocturnal Scratch Bouts Actigraphy | MKDTC | C82515 | N | [6 empty] | Timing | MKDTC | is the date of collection for | IS_TIMING_FOR | MKTESTCD | datetime |  |  |  | N | N
| NEW_BC_DHT6 | 3-2 |  | MK | MK.MKTESTCD | DURSCRACT | Duration Nocturnal Scratch Bouts Actigraphy | MKENDTC | C82516 | N | [6 empty] | Timing | MKENDTC | is the end date for | IS_TIMING_FOR | MKTESTCD | datetime |  |  |  | N | N
| NEW_BC_DHT6 | 3-2 |  | MK | MK.MKTESTCD | DURSCRACT | Duration Nocturnal Scratch Bouts Actigraphy | DEVSITE | NEW_DEC_DHT1 | Y | C74456 | LOC |  | WRIST |  |  | Qualifier |  |  |  |  | text |  |  |  | N | N
| NEW_BC_DHT6 | 3-2 |  | MK | MK.MKTESTCD | DURSCRACT | Duration Nocturnal Scratch Bouts Actigraphy | MKLAT | C25185 | N | C99073 | LAT |  | LEFT, RIGHT |  |  | Qualifier | MKLAT | further specifies the anatomical location in | SPECIFIES | MKLOC | text |  |  |  | N | N
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | NVTESTCD |  | N | C116104 | NVTESTCD |  |  | C156552 | TSTMRP | Topic | NVTESTCD | is the code for the value in | IS_DECODED_BY | NVTEST | text |  |  |  | Y | Y |  |  | EQ
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | NVTEST |  | N | C116103 | NVTEST |  |  | C156552 | Total Sleep Time in Major Rest Period | Qualifier | NVTEST | decodes the value in | DECODES | NVTESTCD | text |  |  |  | Y | Y
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | NVORRES | C70856 | N | [6 empty] | Qualifier | NVORRES | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | NVORRESU | C42574 | N | C71620 | UNIT |  | min, HOURS |  |  | Qualifier | NVORRESU | is the unit for the value in | IS_UNIT_FOR | NVORRES | text |  |  |  | Y | N |  |  |  | Y
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | NVSTRESC | C70856 | N | [6 empty] | Qualifier | NVSTRESC | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | NVSTRESN | C70856 | N | [6 empty] | Qualifier | NVSTRESN | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | NVSTRESU | C42574 | N | C71620 | UNIT |  | min, HOURS |  |  | Qualifier | NVSTRESU | is the unit for the value in | IS_UNIT_FOR | NVSTRESN | text |  |  |  | Y | N |  |  |  | Y
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | NVMETHOD | C82535 | N | C85492 | METHOD |  |  | C180883 | ACTIGRAPHY | Qualifier | NVMETHOD | is the method for the test in | SPECIFIES | NVTESTCD | text |  |  |  | N | N |  |  | EQ
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | SPDEVID | C215501 | N | [6 empty] | Qualifier | SPDEVID | is the device that performed the test in | IDENTIFIES_PRODUCT_IN | NVTESTCD | text |  |  |  | Y | N
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | NVEVINTX | C82534 | N | [6 empty] | Timing | NVEVINTX | is the period of time to be considered when answering the question in | IS_TIMING_FOR | NVTESTCD | text |  |  |  | N | N
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | NVDTC | C82515 | N | [6 empty] | Timing | NVDTC | is the date of collection for | IS_TIMING_FOR | NVTESTCD | datetime |  |  |  | Y | N
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | NVENDTC | C82516 | N | [6 empty] | Timing | NVENDTC | is the end date for | IS_TIMING_FOR | NVTESTCD | datetime |  |  |  | Y | N
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | DEVSITE | NEW_DEC_DHT1 | Y | C74456 | LOC |  | WRIST, LUMBAR REGION |  |  | Qualifier |  |  |  |  | text |  |  |  | N | N
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSTACTMRP | Total Sleep Time by Actigraphy in Major Rest Period | NVLAT | C25185 | N | C99073 | LAT |  | LEFT, RIGHT |  |  | Qualifier | NVLAT | further specifies the anatomical location in | SPECIFIES | NVLOC | text |  |  |  | N | N
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | NVTESTCD |  | N | C116104 | NVTESTCD |  |  | C156552 | TSTTSO | Topic | NVTESTCD | is the code for the value in | IS_DECODED_BY | NVTEST | text |  |  |  | Y | Y |  |  | EQ
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | NVTEST |  | N | C116103 | NVTEST |  |  | C156552 | Total Sleep TimeTotal Sleep Opportunity | Qualifier | NVTEST | decodes the value in | DECODES | NVTESTCD | text |  |  |  | Y | Y
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | NVORRES | C70856 | N | [6 empty] | Qualifier | NVORRES | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | NVORRESU | C42574 | N | C71620 | UNIT |  | % |  |  | Qualifier | NVORRESU | is the unit for the value in | IS_UNIT_FOR | NVORRES | text |  |  |  | Y | N |  |  |  | Y
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | NVSTRESC | C70856 | N | [6 empty] | Qualifier | NVSTRESC | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | NVSTRESN | C70856 | N | [6 empty] | Qualifier | NVSTRESN | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | NVSTRESU | C42574 | N | C71620 | UNIT |  | % |  |  | Qualifier | NVSTRESU | is the unit for the value in | IS_UNIT_FOR | NVSTRESN | text |  |  |  | Y | N |  |  |  | Y
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | NVMETHOD | C82535 | N | C85492 | METHOD |  |  | C180883 | ACTIGRAPHY | Qualifier | NVMETHOD | is the method for the test in | SPECIFIES | NVTESTCD | text |  |  |  | N | N |  |  | EQ
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | SPDEVID | C215501 | N | [6 empty] | Qualifier | SPDEVID | is the device that performed the test in | IDENTIFIES_PRODUCT_IN | NVTESTCD | text |  |  |  | Y | N
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | NVEVINTX | C82534 | N | [6 empty] | Timing | NVEVINTX | is the period of time to be considered when answering the question in | IS_TIMING_FOR | NVTESTCD | text |  |  |  | N | N
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | NVDTC | C82515 | N | [6 empty] | Timing | NVDTC | is the date of collection for | IS_TIMING_FOR | NVTESTCD | datetime |  |  |  | Y | N
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | NVENDTC | C82516 | N | [6 empty] | Timing | NVENDTC | is the end date for | IS_TIMING_FOR | NVTESTCD | datetime |  |  |  | Y | N
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | DEVSITE | NEW_DEC_DHT1 | Y | C74456 | LOC |  | WRIST, LUMBAR REGION |  |  | Qualifier |  |  |  |  | text |  |  |  | N | N
| C156553 | 3-2 |  | NV | NV.NVTESTCD | TSTACTTSO | Total Sleep Time by Actigraphy per Total Sleep Opportunity | NVLAT | C25185 | N | C99073 | LAT |  | LEFT, RIGHT |  |  | Qualifier | NVLAT | further specifies the anatomical location in | SPECIFIES | NVLOC | text |  |  |  | N | N
| NEW_BC_DHT1 | 3-2 |  | NV | NV.NVTESTCD | NNWAKEACTMRP | Number of Nighttime Awakenings by Actigraphy in Major Rest Period | NVTESTCD |  | N | C116104 | NVTESTCD |  |  | CNEW | NWMRP | Topic | NVTESTCD | is the code for the value in | IS_DECODED_BY | NVTEST | text |  |  |  | Y | Y |  |  | EQ
| NEW_BC_DHT1 | 3-2 |  | NV | NV.NVTESTCD | NNWAKEACTMRP | Number of Nighttime Awakenings by Actigraphy in Major Rest Period | NVTEST |  | N | C116103 | NVTEST |  |  | CNEW | Number of Wake Periods in Major Rest Period | Qualifier | NVTEST | decodes the value in | DECODES | NVTESTCD | text |  |  |  | Y | Y
| NEW_BC_DHT1 | 3-2 |  | NV | NV.NVTESTCD | NNWAKEACTMRP | Number of Nighttime Awakenings by Actigraphy in Major Rest Period | NVORRES | C70856 | N | [6 empty] | Qualifier | NVORRES | is the result of the test in | IS_RESULT_OF | NVTESTCD | integer | 20 |  |  | Y | N | Collected | Vendor |  | Y
| NEW_BC_DHT1 | 3-2 |  | NV | NV.NVTESTCD | NNWAKEACTMRP | Number of Nighttime Awakenings by Actigraphy in Major Rest Period | NVSTRESC | C70856 | N | [6 empty] | Qualifier | NVSTRESC | is the result of the test in | IS_RESULT_OF | NVTESTCD | integer | 20 |  |  | Y | N | Collected | Vendor |  | Y
| NEW_BC_DHT1 | 3-2 |  | NV | NV.NVTESTCD | NNWAKEACTMRP | Number of Nighttime Awakenings by Actigraphy in Major Rest Period | NVSTRESN | C70856 | N | [6 empty] | Qualifier | NVSTRESN | is the result of the test in | IS_RESULT_OF | NVTESTCD | integer | 20 |  |  | Y | N | Collected | Vendor |  | Y
| NEW_BC_DHT1 | 3-2 |  | NV | NV.NVTESTCD | NNWAKEACTMRP | Number of Nighttime Awakenings by Actigraphy in Major Rest Period | NVMETHOD | C82535 | N | C85492 | METHOD |  |  | C180883 | ACTIGRAPHY | Qualifier | NVMETHOD | is the method for the test in | SPECIFIES | NVTESTCD | text |  |  |  | N | N |  |  | EQ
| NEW_BC_DHT1 | 3-2 |  | NV | NV.NVTESTCD | NNWAKEACTMRP | Number of Nighttime Awakenings by Actigraphy in Major Rest Period | SPDEVID | C215501 | N | [6 empty] | Qualifier | SPDEVID | is the device that performed the test in | IDENTIFIES_PRODUCT_IN | NVTESTCD | text |  |  |  | Y | N
| NEW_BC_DHT1 | 3-2 |  | NV | NV.NVTESTCD | NNWAKEACTMRP | Number of Nighttime Awakenings by Actigraphy in Major Rest Period | NVEVINTX | C82534 | N | [6 empty] | Timing | NVEVINTX | is the period of time to be considered when answering the question in | IS_TIMING_FOR | NVTESTCD | text |  |  |  | N | N
| NEW_BC_DHT1 | 3-2 |  | NV | NV.NVTESTCD | NNWAKEACTMRP | Number of Nighttime Awakenings by Actigraphy in Major Rest Period | NVDTC | C82515 | N | [6 empty] | Timing | NVDTC | is the date of collection for | IS_TIMING_FOR | NVTESTCD | datetime |  |  |  | Y | N
| NEW_BC_DHT1 | 3-2 |  | NV | NV.NVTESTCD | NNWAKEACTMRP | Number of Nighttime Awakenings by Actigraphy in Major Rest Period | NVENDTC | C82516 | N | [6 empty] | Timing | NVENDTC | is the end date for | IS_TIMING_FOR | NVTESTCD | datetime |  |  |  | Y | N
| NEW_BC_DHT1 | 3-2 |  | NV | NV.NVTESTCD | NNWAKEACTMRP | Number of Nighttime Awakenings by Actigraphy in Major Rest Period | DEVSITE | NEW_DEC_DHT1 | Y | C74456 | LOC |  | WRIST, LUMBAR REGION |  |  | Qualifier |  |  |  |  | text |  |  |  | N | N
| NEW_BC_DHT1 | 3-2 |  | NV | NV.NVTESTCD | NNWAKEACTMRP | Number of Nighttime Awakenings by Actigraphy in Major Rest Period | NVLAT | C25185 | N | C99073 | LAT |  | LEFT, RIGHT |  |  | Qualifier | NVLAT | further specifies the anatomical location in | SPECIFIES | NVLOC | text |  |  |  | N | N
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | NVTESTCD |  | N | C116104 | NVTESTCD |  |  | C156554 | WASOMRP | Topic | NVTESTCD | is the code for the value in | IS_DECODED_BY | NVTEST | text |  |  |  | Y | Y |  |  | EQ
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | NVTEST |  | N | C116103 | NVTEST |  |  | C156554 | Wake Duration After Sleep Onset in Major Rest Period | Qualifier | NVTEST | decodes the value in | DECODES | NVTESTCD | text |  |  |  | Y | Y
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | NVORRES | C70856 | N | [6 empty] | Qualifier | NVORRES | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | NVORRESU | C42574 | N | C71620 | UNIT |  | min, HOURS |  |  | Qualifier | NVORRESU | is the unit for the value in | IS_UNIT_FOR | NVORRES | text |  |  |  | Y | N |  |  |  | Y
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | NVSTRESC | C70856 | N | [6 empty] | Qualifier | NVSTRESC | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | NVSTRESN | C70856 | N | [6 empty] | Qualifier | NVSTRESN | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | NVSTRESU | C42574 | N | C71620 | UNIT |  | min, HOURS |  |  | Qualifier | NVSTRESU | is the unit for the value in | IS_UNIT_FOR | NVSTRESN | text |  |  |  | Y | N |  |  |  | Y
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | NVMETHOD | C82535 | N | C85492 | METHOD |  |  | C180883 | ACTIGRAPHY | Qualifier | NVMETHOD | is the method for the test in | SPECIFIES | NVTESTCD | text |  |  |  | N | N |  |  | EQ
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | SPDEVID | C215501 | N | [6 empty] | Qualifier | SPDEVID | is the device that performed the test in | IDENTIFIES_PRODUCT_IN | NVTESTCD | text |  |  |  | Y | N
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | NVEVINTX | C82534 | N | [6 empty] | Timing | NVEVINTX | is the period of time to be considered when answering the question in | IS_TIMING_FOR | NVTESTCD | text |  |  |  | N | N
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | NVDTC | C82515 | N | [6 empty] | Timing | NVDTC | is the date of collection for | IS_TIMING_FOR | NVTESTCD | datetime |  |  |  | Y | N
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | NVENDTC | C82516 | N | [6 empty] | Timing | NVENDTC | is the end date for | IS_TIMING_FOR | NVTESTCD | datetime |  |  |  | Y | N
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | DEVSITE | NEW_DEC_DHT1 | Y | C74456 | LOC |  | WRIST, LUMBAR REGION |  |  | Qualifier |  |  |  |  | text |  |  |  | N | N
| C156554 | 3-2 |  | NV | NV.NVTESTCD | WASOACTMRP | Wake after Sleep Time by Actigraphy in Major Rest Period | NVLAT | C25185 | N | C99073 | LAT |  | LEFT, RIGHT |  |  | Qualifier | NVLAT | further specifies the anatomical location in | SPECIFIES | NVLOC | text |  |  |  | N | N
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | NVTESTCD |  | N | C116104 | NVTESTCD |  |  | C154867 | SOLMRP | Topic | NVTESTCD | is the code for the value in | IS_DECODED_BY | NVTEST | text |  |  |  | Y | Y |  |  | EQ
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | NVTEST |  | N | C116103 | NVTEST |  |  | C154867 | Sleep Onset Latency in Major Rest Period | Qualifier | NVTEST | decodes the value in | DECODES | NVTESTCD | text |  |  |  | Y | Y
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | NVORRES | C70856 | N | [6 empty] | Qualifier | NVORRES | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | NVORRESU | C42574 | N | C71620 | UNIT |  | min, HOURS |  |  | Qualifier | NVORRESU | is the unit for the value in | IS_UNIT_FOR | NVORRES | text |  |  |  | Y | N |  |  |  | Y
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | NVSTRESC | C70856 | N | [6 empty] | Qualifier | NVSTRESC | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | NVSTRESN | C70856 | N | [6 empty] | Qualifier | NVSTRESN | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | NVSTRESU | C42574 | N | C71620 | UNIT |  | min, HOURS |  |  | Qualifier | NVSTRESU | is the unit for the value in | IS_UNIT_FOR | NVSTRESN | text |  |  |  | Y | N |  |  |  | Y
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | NVMETHOD | C82535 | N | C85492 | METHOD |  |  | C180883 | ACTIGRAPHY | Qualifier | NVMETHOD | is the method for the test in | SPECIFIES | NVTESTCD | text |  |  |  | N | N |  |  | EQ
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | SPDEVID | C215501 | N | [6 empty] | Qualifier | SPDEVID | is the device that performed the test in | IDENTIFIES_PRODUCT_IN | NVTESTCD | text |  |  |  | Y | N
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | NVEVINTX | C82534 | N | [6 empty] | Timing | NVEVINTX | is the period of time to be considered when answering the question in | IS_TIMING_FOR | NVTESTCD | text |  |  |  | N | N
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | NVDTC | C82515 | N | [6 empty] | Timing | NVDTC | is the date of collection for | IS_TIMING_FOR | NVTESTCD | datetime |  |  |  | Y | N
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | NVENDTC | C82516 | N | [6 empty] | Timing | NVENDTC | is the end date for | IS_TIMING_FOR | NVTESTCD | datetime |  |  |  | Y | N
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | DEVSITE | NEW_DEC_DHT1 | Y | C74456 | LOC |  | WRIST, LUMBAR REGION |  |  | Qualifier |  |  |  |  | text |  |  |  | N | N
| C154867 | 3-2 |  | NV | NV.NVTESTCD | SOLACTMRP | Sleep Onset Latency by Actigraphy in Major Rest Period | NVLAT | C25185 | N | C99073 | LAT |  | LEFT, RIGHT |  |  | Qualifier | NVLAT | further specifies the anatomical location in | SPECIFIES | NVLOC | text |  |  |  | N | N
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | NVTESTCD |  | N | C116104 | NVTESTCD |  |  | C156552 | TSO | Topic | NVTESTCD | is the code for the value in | IS_DECODED_BY | NVTEST | text |  |  |  | Y | Y |  |  | EQ
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | NVTEST |  | N | C116103 | NVTEST |  |  | C156552 | Total Sleep Opportunity | Qualifier | NVTEST | decodes the value in | DECODES | NVTESTCD | text |  |  |  | Y | Y
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | NVORRES | C70856 | N | [6 empty] | Qualifier | NVORRES | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | NVORRESU | C42574 | N | C71620 | UNIT |  | min, HOURS |  |  | Qualifier | NVORRESU | is the unit for the value in | IS_UNIT_FOR | NVORRES | text |  |  |  | Y | N |  |  |  | Y
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | NVSTRESC | C70856 | N | [6 empty] | Qualifier | NVSTRESC | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | NVSTRESN | C70856 | N | [6 empty] | Qualifier | NVSTRESN | is the result of the test in | IS_RESULT_OF | NVTESTCD | float | 12 | 12.4 | 4 | Y | N | Collected | Vendor |  | Y
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | NVSTRESU | C42574 | N | C71620 | UNIT |  | min, HOURS |  |  | Qualifier | NVSTRESU | is the unit for the value in | IS_UNIT_FOR | NVSTRESN | text |  |  |  | Y | N |  |  |  | Y
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | NVMETHOD | C82535 | N | C85492 | METHOD |  |  | C180883 | ACTIGRAPHY | Qualifier | NVMETHOD | is the method for the test in | SPECIFIES | NVTESTCD | text |  |  |  | N | N |  |  | EQ
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | SPDEVID | C215501 | N | [6 empty] | Qualifier | SPDEVID | is the device that performed the test in | IDENTIFIES_PRODUCT_IN | NVTESTCD | text |  |  |  | Y | N
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | NVEVINTX | C82534 | N | [6 empty] | Timing | NVEVINTX | is the period of time to be considered when answering the question in | IS_TIMING_FOR | NVTESTCD | text |  |  |  | N | N
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | NVDTC | C82515 | N | [6 empty] | Timing | NVDTC | is the date of collection for | IS_TIMING_FOR | NVTESTCD | datetime |  |  |  | Y | N
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | NVENDTC | C82516 | N | [6 empty] | Timing | NVENDTC | is the end date for | IS_TIMING_FOR | NVTESTCD | datetime |  |  |  | Y | N
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | DEVSITE | NEW_DEC_DHT1 | Y | C74456 | LOC |  | WRIST, LUMBAR REGION |  |  | Qualifier |  |  |  |  | text |  |  |  | N | N
| C156552 | 3-2 |  | NV | NV.NVTESTCD | TSOACT | Duration of Major Rest Period | NVLAT | C25185 | N | C99073 | LAT |  | LEFT, RIGHT |  |  | Qualifier | NVLAT | further specifies the anatomical location in | SPECIFIES | NVLOC | text |  |  |  | N | N
Note on J18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRESC, there is no NVSTRESC
Note on J19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Numeric test result. There is no STRESN or NVSTRESN
Note on J31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRESC, there is no NVSTRESC
Note on J32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Numeric test result. There is no STRESN or NVSTRESN
Note on J44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ORRES, there is no NVORRES
Note on J45: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ORRESU, there is no NVORRESU
Note on J46: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRESC, there is no NVSTRESC
Note on J47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Numeric test result. There is no STRESN or NVSTRESN
Note on J48: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRESU, there is no NVSTRESU
Note on J51: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: EVINTX, there are no domain-specific concepts
Note on J58: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ORRES, there is no NVORRES
Note on J59: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ORRESU, there is no NVORRESU
Note on J60: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRESC, there is no NVSTRESC
Note on J61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Numeric test result. There is no STRESN or NVSTRESN
Note on J62: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRESU, there is no NVSTRESU
Note on J65: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: EVINTX, there are no domain-specific concepts
Note on J72: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ORRES, there is no NVORRES
Note on J73: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRESC, there is no NVSTRESC
Note on J74: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Numeric test result. There is no STRESN or NVSTRESN
Note on J77: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: EVINTX, there are no domain-specific concepts
Note on J84: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ORRES, there is no NVORRES
Note on J85: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ORRESU, there is no NVORRESU
Note on J86: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRESC, there is no NVSTRESC
Note on J87: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Numeric test result. There is no STRESN or NVSTRESN
Note on J88: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRESU, there is no NVSTRESU
Note on J91: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: EVINTX, there are no domain-specific concepts
Note on J98: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ORRES, there is no NVORRES
Note on J99: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ORRESU, there is no NVORRESU
Note on J100: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRESC, there is no NVSTRESC
Note on J101: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Numeric test result. There is no STRESN or NVSTRESN
Note on J102: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRESU, there is no NVSTRESU
Note on J105: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: EVINTX, there are no domain-specific concepts
Note on J112: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ORRES, there is no NVORRES
Note on J113: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ORRESU, there is no NVORRESU
Note on J114: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRESC, there is no NVSTRESC
Note on J115: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Numeric test result. There is no STRESN or NVSTRESN
Note on J116: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: STRESU, there is no NVSTRESU
Note on J119: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: EVINTX, there are no domain-specific concepts

## Device Identifiers
Row | STUDYID | DOMAIN | SPDEVID | DISEQ | DIPARMCD | DIPARM | DIVAL
1 | ABC-123 | DI | Scratch Sensor System | 1 | DEVTYPE | Device Type | Kinesiology ambulatory recorder system
2 | ABC-123 | DI | Right Sensor | 1 | DEVTYPE | Device Type | Kinesiology ambulatory recorder
3 | ABC-123 | DI | Right Sensor | 2 | MANUF | Manufacturer | Someone
4 | ABC-123 | DI | Right Sensor | 3 | WEARLOC | Wear Location | Right Wrist
5 | ABC-123 | DI | Left Sensor | 1 | DEVTYPE | Device Type | Kinesiology ambulatory recorder
6 | ABC-123 | DI | Left Sensor | 2 | MANUF | Manufacturer | Someone
7 | ABC-123 | DI | Left Sensor | 3 | WEARLOC | Wear Location | Left Wrist

## Related Devices (RELDEV)
Row | STUDYID | SPDEVID | PARENT | LEVEL
1 | ABC-123 | Scratch Sensor System |  | 1
2 | ABC-123 | Right Sensor | Scratch Sensor System | 2
3 | ABC-123 | Left Sensor | Scratch Sensor System | 2

## Findings Examples (MK and NV)
Row | STUDYID | DOMAIN | USUBJID | SPDEVID | MKSEQ | MKREFID | MKTESTCD | MKTEST | MKORRES | MKORRESU | MKSTREC | MKSTRESN | MKSTRESU | MKSTAT | MKREASND | MKNAM | MKLOC | MKLAT | MKMETHOD | MKANMETH | MKDTC | MKENDTC | MKEVINTX
1 | ABC-123 | MK | 1001 | Scratch Sensor System | 41 |  | NSCMRP | Number Scratch Bouts Major Rest Period | [5 empty] | NOT DONE | FAIL | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-11-30T12:00 | 2018-12-01T11:59 | MAJOR REST PERIOD
2 | ABC-123 | MK | 1001 | Scratch Sensor System | 42 |  | DSCMRP | Duration Scratch Bouts Major Rest Period | [5 empty] | NOT DONE | FAIL | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-11-30T12:00 | 2018-12-01T11:59 | MAJOR REST PERIOD
3 | ABC-123 | MK | 1001 | Scratch Sensor System | 44 |  | NSCMRP | Number Scratch Bouts Major Rest Period | 220 |  | 220 | 220 |  |  |  | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-12-01T12:00 | 2018-12-02T11:59 | MAJOR REST PERIOD
4 | ABC-123 | MK | 1001 | Scratch Sensor System | 45 |  | DSCMRP | Duration Scratch Bouts Major Rest Period | 14.3 | MINUTES | 14.3 | 14.3 | MINUTES |  |  | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-12-01T12:00 | 2018-12-02T11:59 | MAJOR REST PERIOD
Row | STUDYID | DOMAIN | USUBJID | SPDEVID | NVSEQ | NVREFID | NVTESTCD | NVTEST | NVORRES | NVORRESU | NVSTREC | NVSTRESN | NVSTRESU | NVSTAT | NVREASND | NVNAM | NVLOC | NVLAT | NVMETHOD | NVANMETH | NVDTC | NVENDTC | NVEVINTX
1 | ABC-123 | NV | 1001 | Scratch Sensor System | 101 |  | TSO | Total Sleep Opportunity | [5 empty] | NOT DONE | FAIL | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-11-30T12:00 | 2018-12-01T11:59 | MAJOR REST PERIOD
2 | ABC-123 | NV | 1001 | Scratch Sensor System | 102 |  | TSTMRP | Total Sleep Time in Major Rest Period | [5 empty] | NOT DONE | FAIL | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-11-30T12:00 | 2018-12-01T11:59 | MAJOR REST PERIOD
3 | ABC-123 | NV | 1001 | Scratch Sensor System | 103 |  | TSTTSO | Total Sleep Time Total Sleep Opportunity | [5 empty] | NOT DONE | FAIL | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-11-30T12:00 | 2018-12-01T11:59 | MAJOR REST PERIOD
4 | ABC-123 | NV | 1001 | Scratch Sensor System | 104 |  | SOLMRP | Sleep Onset Latency Major Rest Period | [5 empty] | NOT DONE | FAIL | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-11-30T12:00 | 2018-12-01T11:59 | MAJOR REST PERIOD
5 | ABC-123 | NV | 1001 | Scratch Sensor System | 105 |  | WASOMRP | Wake After Sleep Onset Major Rest Period | [5 empty] | NOT DONE | FAIL | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-11-30T12:00 | 2018-12-01T11:59 | MAJOR REST PERIOD
6 | ABC-123 | NV | 1001 | Scratch Sensor System | 106 |  | NWMRP | Number Wake Bouts Major Rest Period | [5 empty] | NOT DONE | FAIL | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-11-30T12:00 | 2018-12-01T11:59 | MAJOR REST PERIOD
7 | ABC-123 | NV | 1001 | Scratch Sensor System | 107 |  | TSO | Total Sleep Opportunity | 658 | MINUTES | 658 | 658 | MINUTES |  |  | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-12-01T12:00 | 2018-12-02T11:59 | MAJOR REST PERIOD
8 | ABC-123 | NV | 1001 | Scratch Sensor System | 108 |  | TSTMRP | Total Sleep Time in Major Rest Period | 601 | MINUTES | 601 | 601 | MINUTES |  |  | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-12-01T12:00 | 2018-12-02T11:59 | MAJOR REST PERIOD
9 | ABC-123 | NV | 1001 | Scratch Sensor System | 109 |  | TSTTSO | Total Sleep Time Total Sleep Opportunity | 91.489 | % | 91.489 | 91.489 | % |  |  | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-12-01T12:00 | 2018-12-02T11:59 | MAJOR REST PERIOD
10 | ABC-123 | NV | 1001 | Scratch Sensor System | 110 |  | SOLMRP | Sleep Onset Latency Major Rest Period | 1.5 | MINUTES | 1.5 | 1.5 | MINUTES |  |  | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-12-01T12:00 | 2018-12-02T11:59 | MAJOR REST PERIOD
11 | ABC-123 | NV | 1001 | Scratch Sensor System | 111 |  | WASOMRP | Wake After Sleep Onset Major Rest Period | 52 | MINUTES | 52 | 52 | MINUTES |  |  | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-12-01T12:00 | 2018-12-02T11:59 | MAJOR REST PERIOD
12 | ABC-123 | NV | 1001 | Scratch Sensor System | 112 |  | NWMRP | Number of Wake Bouts Major Rest Period | 15 |  | 15 | 15 |  |  |  | SPDDAD | WRIST | BOTH | ACTIGRAPHY | SPONSOR SLEEP ALGORITHMS | 2018-12-01T12:00 | 2018-12-02T11:59 | MAJOR REST PERIOD